NeuroLearn Research Suite (NEURO_FOCUS)
Complete System Architecture, Clinical Features, & Empirical Documentation
A Modular Biomedical Signal Processing (BSP) Platform for EEG Attention Quantification

| Platform Version: 1.0.0 (Research Edition) | Methodology: 100% Non-ML / Explainable BSP |
| --- | --- |
| Primary Dataset: PhysioNet_S001 (64 Channels, 160.0 Hz) | Signal Quality Audit: 72.73% SQI Score |
| Verification Status: 11/11 Pytest Suite Passed | GitHub Repository: 60140-Ikrama/NEURO_FOCUS |

# 1. Executive Summary & Research Philosophy

The NeuroLearn Research Suite is a professional research-grade Biomedical Signal Processing (BSP) application designed for biomedical engineering laboratories, university research, academic publications, and graduate thesis work. It objectively quantifies student attention state directly from multi-channel EEG recordings.

Strict Non-ML Policy: This platform explicitly does NOT use machine learning, neural networks, CNNs, LSTMs, Transformers, or black-box predictive models. All cognitive metrics are derived transparently using zero-phase Butterworth bandpass filtering (1.0-40.0 Hz), 50 Hz powerline notch filtering, FastICA artifact rejection, Common Average Reference (CAR) / Longitudinal Bipolar Double Banana montage referencing, Welch Power Spectral Density (PSD), Hjorth parameters (Activity, Mobility, Complexity), Discrete Wavelet Transforms (DWT), and mathematical band ratio formulations (Beta/Theta).

# 2. 17 Core Decoupled Backend Processing Modules

1. Dataset Manager (data/loader.py): Parses EDF, MAT, CSV, and TXT files with auto-detection of sampling rate fs, channel labels, duration, and units.

2. Biopac Import Manager (data/biopac.py): Normalizes AcqKnowledge MAT/CSV exports into standard EEGData containers without changing downstream logic.

3. PhysioNet Adapter (data/physionet.py): Fetches public PhysioNet EEG Motor Imagery datasets (eegmmidb) via MNE integration.

4. Signal Quality Assessment (preprocessing/quality.py): Computes Signal Quality Index (0-100%), SNR (dB), kurtosis spike detection, flatline channels, and auto-excludes bad channels.

5. Signal Preprocessing Cleaner (preprocessing/cleaner.py): Executes zero-phase Butterworth Bandpass (1-40Hz), 50Hz Notch, DC detrending, CAR/Bipolar montage referencing, FastICA, and Z-score standardization.

6. Sliding Window Engine (segmentation/windowing.py): Segments continuous EEG into sliding epochs (2s to 30s) with configurable overlap (0% to 90%).

7. Feature Extraction Engine (features/extractor.py): Extracts time domain stats, Hjorth parameters, Welch/Multitaper PSD, SEF95, Spectral Entropy, and Wavelet Entropy.

8. Frequency Analysis Subsystem (features/frequency_domain.py): Calculates absolute and relative band powers for Delta (0.5-4Hz), Theta (4-8Hz), Alpha (8-13Hz), Beta (13-30Hz), and Gamma (30-40Hz).

9. Mathematical Attention Calculator (attention/calculator.py): Computes non-ML ratio formulas, safe AST user expressions, 0-100 normalization, and 5-level state classification.

10. Statistical Analysis Module (stats/analyzer.py): Performs parametric/non-parametric hypothesis testing, Shapiro-Wilk normality tests, Cohen's d effect sizes, and Bland-Altman agreement.

11. Systematic Ablation Study Engine (ablation/engine.py): Primary research module systematically evaluating Preprocessing pipelines, Window sizes, PSD methods, and Formulas.

12. Research Validation Engine (validation/engine.py): Direct cross-dataset agreement audit between PhysioNet and Biopac EEG sessions.

13. Experiment Tracker (experiments/tracker.py): Logs software versions, filter bounds, data hashes, and exports 100% reproducible JSON state snapshots.

14. Multi-Format Exporter (reports/generator.py): Exports IEEE/Frontiers-styled PDF, Word DOCX, and CSV dataset reports.

15. Configuration Manager (config/manager.py): Centralized YAML/JSON configuration manager.

16. Visualization Engine (visualization/plots.py): Generates high-resolution Plotly charts, Welch PSD curves, STFT Spectrograms, and 2D Topographic Scalp Power Heatmaps.

17. Plugin Extension Manager (plugins/manager.py): Dynamic registry for custom signal filters, feature extractors, and attention index formulations.

# 3. 21 Desktop Workspaces & Streamlit Dashboard Redesigns

The frontend application provides a desktop-first scientific interface styled after professional biomedical software such as MATLAB App Designer, LabChart, Biopac AcqKnowledge, BrainVision Analyzer, and OpenBCI GUI. It features a dark medical theme (#060d19 background, #142642 glassmorphic containers, #00d2ff cyan, #0052cc medical blue).

High-Density Dashboard Layouts:

• Dashboard 1 (Executive Scientific Overview): 4-Column Hero Glassmorphic Telemetry Cards, 65/35 Split Layout (Attention Timeline Plot & 2D Brain Electrode Topology Map + Band Powers), and Preprocessing Sequence Node Flow.

• Dashboard 2 (EEG Waveform Hub & Spectral Workspace): Control Bar, Multi-Channel Stacked Waveform Plotter with margin padding, Welch PSD Curves, STFT Spectrogram, and Channel SQI Quality Audit Matrix.

# 4. Empirical Results on Real-World PhysioNet Dataset

| Metric | Run 1 (Baseline) | Run 2 (Task) | Scientific Significance |
| --- | --- | --- | --- |
| Average Attention Score | 58.5 / 100 | 55.9 / 100 | Mean cognitive score |
| Peak Attention Score | 93.5 / 100 | 89.2 / 100 | Maximum focused state |
| Minimum Attention Score | 27.4 / 100 | 17.4 / 100 | Nadir attention level |
| Attention Stability Index | 81.0% | 78.6% | Inverse std deviation |
| Dominant Category | Moderate Attention | Moderate Attention | 5-Level rule-based state |

Real-World Systematic Ablation Study Results:

| Preprocessing Pipeline | Mean Attention | Peak Attention | Stability Index | Dominant Category |
| --- | --- | --- | --- | --- |
| Raw Signal | 52.9 / 100 | 94.7 | 79.6% | High Attention |
| Bandpass Only | 52.9 / 100 | 94.7 | 79.6% | High Attention |
| Bandpass + Notch | 52.9 / 100 | 94.7 | 79.6% | High Attention |
| Full Preprocessing | 51.4 / 100 | 95.3 | 79.8% | High Attention |

# 5. Mathematical Equations & Academic References

• 4th Order Zero-Phase Butterworth Bandpass: |H(jw)|^2 = 1 / [ 1 + ((w^2 - w0^2)/(w*B))^(2N) ]
• Hjorth Activity: var(x(t)) = sigma_x^2 | Mobility: sigma_x' / sigma_x | Complexity: Mobility(dx/dt) / Mobility(x(t))
• Welch PSD: PSD(f) = (1/K) sum_{k=1}^K |FFT(x_k * w)|^2 / (L * U)
• Spectral Edge Frequency (SEF95): Integral_0^{f95} PSD(f) df = 0.95 * Total_Power
• Attention Ratio: Beta / Theta = Power(13-30Hz) / Power(4-8Hz)
• Cohen's d: d = (Mean_1 - Mean_2) / s_pooled
• Bland-Altman Limits of Agreement: Mean_Bias +/- 1.96 * SD_diff

Academic References:
1. Goldberger, A. L., et al. (2000). 'PhysioBank, PhysioToolkit, and PhysioNet: Components of a new research resource for complex physiologic signals.' Circulation, 101(23), e215-e220.
2. Coelli, S., et al. (2018). 'EEG-based indices of attention during online learning tasks.' IEEE Transactions on Biomedical Engineering.
3. Hjorth, B. (1970). 'EEG analysis based on time domain properties.' Electroencephalography and Clinical Neurophysiology.